## Duplex PCR
# Groups (assumes 2 students per group) = | 12 |  | WOLBACHIA PROJECT MATERIALS LIST FOR DUPLEX PCR
# Lab Stations (shared bench) = | 6 |  | * Assumes one PCR reaction with both arthropod and Wolbachia primers
* Assumes one agarose gel per gorup
* 1 x 40 µl PCR reaction: 10 µl needed for gel electrophoresis and 20 µl needed for DNA sequencing
WOLBACHIA PROJECT SUPPLIES |  |  |  | LAB |  |  |  | VENDOR |  |  |  |  | NOTES
PER CLASS: Organize in a central location |  | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Dry bath @ 56C |  | 48 | tube capacity |  | X |  |  |  |  | 10153-318 |  |  | Can substitute with a water bath and float racks; dry bath requires an additional block insert
1.5 ml block insert for dry bath |  | 48 | tube capacity |  | X |  |  |  |  | 10153-364 |  |  | Only needed if using a dry bath for incubation
Thermal cycler |  | 72 | well capacity |  |  | X |  | M4000 | QP-1016-16 | 470351-984 |  |  | Bundle with additional units and/or electrophoresis unit
Mobile device(s) for thermal cyclers |  | 12 | each |  |  | X |  |  |  |  | Any |  | Needed for MiniOne and miniPCR thermal cyclers
Colored lab tape to label storage boxes |  | 1 | roll |  | X | X |  |  |  | 470144-262 | USA Scientific | 9152-XXXX | Can substitute with any brand
Storage box for 1.5 ml tubes |  | 48 | tube capacity |  | X |  |  |  |  | 470338-952 | USA Scientific | 2381-5048 | Recommend plastic or cardboard freezer boxes with lids
Nitrile gloves (XS, S, M, L, XL) |  | 240 | gloves | X | X | X | X |  |  | 76518-XXX | USA Scientific | 3915-XXXX | Recommend nitrile rather than latex to avoid allergic reactions and/or skin irritation
96-well PCR plate, semi-skirted* |  | 1 | each |  |  |  | X |  |  | 470324-966 | USA Scientific | 1402-9700 | Used to submit samples for Sanger sequencing; * can obtain from Wolbachia Project
Bubble cap strips* |  | 1 | pack |  |  |  | X |  |  | 20170-000 | USA Scientific | 1400-1800 | Used to seal the plate for Sanger sequencing; * can obtain from Wolbachia Project
Microwave |  | 1 | each |  |  |  | X |  |  | 470359-014 | Any
Parafilm (optional) |  | 1 | roll |  |  |  | X |  |  | 470152-246 | USA Scientific | 3023-4526 | Optional; only needed if using colorelss Taq Master mix (for loading agarose gels)
PER STATION: Organize per lab station |  | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Wash bottle for 70% ethanol |  | 6 | each | X | X | X | X |  |  | 47750-676 |  |  | Any squirt bottle to hold ethanol; used for spraying down bench prior to molecular work
Wash bottle or transfer pipette for water |  | 6 | each |  | X |  |  |  |  | 47750-676 |  |  | This will be used to rinse off arthropods prior to dissection
Vortex mixer |  | 6 | each |  | X | X |  |  |  | 10153-688 |  |  | VortexGenie is the gold standard; mini vortex mixers work well for this lab series
Mini Centrifuge (1.5 ml & PCR rotors) |  | 6 | each |  | X | X |  | M2031 | QP-1800-02 | 76269-064 |  |  | Recommend centrifuges with a rotor that fits multiple sized tubes and/or a pop off rotor
Waste cup for solids |  | 6 | each |  | X | X | X |  |  | 76263-380 | Any |  | Any plastic cup to eject pipette tips; label "not for food"
Sharpie, fine-tip or ultrafine-tip |  | 6 | each |  | X | X | X |  |  | 470217-640 | Any |  | Permanent lab marker
20 ul pipette tips |  | 6 | boxes |  | X | X | X |  | 4AA76 | 76322-134 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
200 ul pipette tips |  | 6 | boxes |  | X | X |  | M3136 | 4AA77 | 76322-150 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
1000 ul pipette tips |  | 6 | boxes |  | X |  |  | M3128 | 4AA78 | 76322-154 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
Paper towels |  | 6 | small piles | X | X | X | X |  |  | 470308-268 | Any |  | Trifold paper towels to clean stations and for DNA Extraction lab
PER GROUP - MATERIALS | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Arthropod collection vials/containers | 2 | 24 | each | X | [5 empty] | 470331-654 | Any |  | Small plastic containers to collect insects; can use medicine bottle, washed food container, etc.
Dissection kit | 1 | 12 | each | X | X |  |  |  |  | 76457-522 |  |  | Affordable kit to include scalpel, probe, forceps, & scissors (or purchase separately)
Safety goggles | 2 | 24 | each | X | [5 empty] | 89187-988 |  |  | Recommended for safety
Microtube pestles | 4 | 48 | each |  | X |  |  |  |  | 749520-0000 | USA Scientific | 1415-5390 | Microtube pestles must fit 1.5 ml tubes; can be washed and reused
Rack for 1.5 ml microcentrifuge tubes | 1 | 12 | each | X | X | X | X | M3181 | CM-1003-08 | 470334-388 | USA Scientific | 2380-1048 | Any rack
Rack for 0.2 ml PCR tubes (and storage) | 1 | 12 | each |  |  | X | X | M3180 | CM-1003-05 | 470200-670 | USA Scientific | 2300-9602 | Any rack; recommend one with a lid so that it can also be used to store PCR products
1.5 ml microcentrifuge tubes | 18 | 216 | tubes | X | X | X |  | M3109 | CM-1000-03 | 470337-702 | USA Scientific | 1615-5510 | Recommend sterilized, if available; used for DNA purification and PCR
0.2 ml PCR tubes | 6 | 72 | tubes |  |  | X |  | M6100 | 6AA45 | 76468-980 | USA Scientific | 1402-4700 | Recommend strip tubes with a tight close/seal; they can be cut with scissors
20 ul pipette, adjustable | 1 | 12 | each |  | X | X | X | M2008 | QP-1001-01 | 470231-608 |  |  | Often sold as sets
200 ul pipette, adjustable | 1 | 12 | each |  | X | X |  | M2010 | QP-1001-03 | 470231-600 |  |  | Often sold as sets
1000 ul pipette, adjustable | 1 | 12 | each |  | X |  |  | M2011 | QP-1001-02 | 470231-602 |  |  | Often sold as sets
Gel Electrophoresis System | 1 | 12 | each |  |  |  | X | *** Select an electrophoresis system from green section below ***
Computer with internet access (optional) | 2 | 24 | each | X | X | X | X |  |  |  | Any |  | Optional to identify arthropods and access Wolbachia Project digital content
Macro lens for mobile device (optional) | 1 | 12 | each | X | [6 empty] | Any |  | Optional to view morphology of small arthropods
Microscope (optional) | 1 | 12 | each | X | [6 empty] | Any |  | Optional to view morphology of small arthropods
Colored pencils (optional) | 1 | 12 | boxes | X | [5 empty] | 500035-674 | Any |  | Optional if drawing arthropods; can also take pictures
Field Guides (optional) | (per class) | 1 | book | X | [5 empty] | 470007-926 | Any |  | Optional to identify arthropods; can use online field guides
Lab tray or cafeteria tray (optional) | 1 | 12 | each | X | X | X | X |  |  | 470303-962 | Any |  | Optional to organize work stations
PER GROUP - MOLECULAR REAGENTS | PER GROUP | TOTAL NEEDED | [5 empty] | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
70% Ethanol, lower grade for wash bottle | 100 | 1200 | ml | X | X | X | X |  |  | 97064-768 |  |  | Used for rinsing bench prior to molecular work and arthropod storage
Ethanol, molecular grade | 800 | 9600 | µl |  | X |  |  |  |  | EM-4450S |  |  | Used for DNA purification
QIAGEN DNeasy Kit | 4 | 48 | reactions |  | X |  |  |  |  | 220002-670 | QIAGEN | 69504 | Each kit accomodates 50 reactions
Taq Master Mix (select an option below)
Option 1: 2X Master Mix | 140 | 1680 | µl |  |  | X |  |  |  | PAM7122 | NEB | M0488S | Recommend using colored Master Mix w/ loading dye
Option 2: 5X Master Mix | 56 | 672 | µl |  |  | X |  |  | RG-1000-01 |  |  |  | Recommend using colored Master Mix w/ loading dye
PCR (nuclease-free) water (select below)
Option 1: With 2X Master Mix | 26.4 | 60 | µl |  |  | X |  | M6205 | RG-1021-01 | 76620-532 | NEB | B1500S | Not required if pre-packaged with Master Mix
Option 2: With 5X Master Mix | 110.4 | 12 | µl |  |  | X |  | M6205 | RG-1021-01 | 76620-532 | NEB | B1500S | Not required if pre-packaged with Master mix
DNA Ladder | 5 | 60 | µl |  |  |  | X | M3144 | RG-1001-01 | 470334-112 | NEB | N0559S | Any DNA ladder that has loading dye; used to visualize/distinguish ~400 and ~ 700 bp bands
Set of (+/-) Arthropod controls | 1 | 12 | sets |  | X | [5 empty] | Wolbachia Project | N/A | Contact the Wolbachia Project to obtain free project-specific reagents. https://wolbachiaproject.org/contact/
(+) DNA control | 4 | 48 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
WSpecF (Wolbachia forward) primer | 22.4 | 268.8 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
WSpecR (Wolbachia reverse) primer | 22.4 | 268.8 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
CO1F (Arthropod forward) primer | 22.4 | 268.8 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
CO1R (Arthropod reverse) primer | 22.4 | 268.8 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
GEL ELECTROPHORESIS OPTIONS |  |  |  | LAB |  |  |  | VENDOR |  |  |  |  | NOTES
MiniOne | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Electrophoresis System | 1 | 12 | each |  |  |  | X | M1000 |  |  |  |  | Bundle with additional units and/or thermal cycler
GreenGel Cups, 1% TBE | 1 | 12 | cups |  |  |  | X | M3102TBE
Media/storage bottle, 1000 ml | 0.135 | 1.62 | each |  |  |  | X |  |  | 16157-191 |  |  | Any; recommend plastic
250 ml graduated cylinder | 1 | 12 | each |  |  |  | X |  |  | 470177-818 |  |  | Any; recommend plastic; can be shared among groups/class
Distilled water | 135 | 1620 | ml |  |  |  | X |  |  | 470015-857 | Milli-Q, DI system, or local store |  | Any distilled or DI water; recommend not using tap water
miniPCR | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Electrophoresis System | 1 | 12 | each |  |  |  | X |  | QP-1500-01 | 470348-558 |  |  | Bundle with additional units and/or thermal cycler
TBE electrophoesis buffer powder | 0.25 | 3 | g |  |  |  | X |  | RG-1502-04 | 470352-026 |  |  | Can also purchase stock buffer and dilute to 1X TBE with water
All-in-One Agarose Tabs | 1 | 12 | each |  |  |  | X |  | RG-1500-21 | 470348-592 |  |  | Use 1/2 amount for 1% gels
Media/storage bottle, 1000 ml | 0.05 | 0.6 | each |  |  |  | X |  |  | 16157-191 |  |  | Any; recommend plastic
Hot hand protector |  | 1 | each |  |  |  | X |  |  | 470148-668 |  |  | Can use oven mit; recommend one with grip
150 ml Erlenmeyer flask | 1 | 12 | each |  |  |  | X |  |  | 470345-994
50 ml graduated cylinder | 1 | 12 | each |  |  |  | X |  |  | 470343-822 |  |  | Any; recommend plastic; can be shared among groups/class
Distilled water | 50 | 600 | ml |  |  |  | X |  |  | 470015-857 | Milli-Q, DI system, or local store |  | Any distilled or DI water; recommend not using tap water
Other - Items depend on specific system | PER GROUP |  |  | 1 | 2 | 3 | 4
Gel electrophoresis system | varies | [5 empty] | X
Power supply | varies | [5 empty] | X
Transilluminator (UV or blue light) | varies | [5 empty] | X
UV goggles | varies | [5 empty] | X
Gel tray | varies | [5 empty] | X
Gel comb | varies | [5 empty] | X
Casting tray or lab tape to seal tray | varies | [5 empty] | X
Agarose | varies | [5 empty] | X
Balance | 1 | [5 empty] | X
Weigh boat | varies | [5 empty] | X
Running buffer, 1X (TBE, TAE, SB, or LB) | varies | [5 empty] | X
Media/storage bottle, 1000 ml | varies | [5 empty] | X
500 ml flask | varies | [5 empty] | X
250 ml graduated cylinder | varies | [5 empty] | X
Distilled water | varies | [5 empty] | X
Hot hand protector | 1 | [5 empty] | X
DNA Stain | varies | [5 empty] | X

## Standard PCR
# Groups (assumes 2 students per group) = | 12 |  | WOLBACHIA PROJECT MATERIALS LIST FOR STANDARD PCR
# Lab Stations (shared bench) = | 6 |  | * Assumes two separate PCR reactions, each with either arthropod or Wolbachia primers
* Assumes two agarose gels per gorup
* 2 x 25 µl PCR reactions (arthropod & Wolbachia): 10 µl of each rxn needed for gel electrophoresis and 10 µl of each rxn needed for DNA sequencing
WOLBACHIA PROJECT SUPPLIES |  |  |  | LAB |  |  |  | VENDOR |  |  |  |  | NOTES
PER CLASS: Organize in a central location |  | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Dry bath @ 56C |  | 48 | tube capacity |  | X |  |  |  |  | 10153-318 |  |  | Can substitute with a water bath and float racks; dry bath requires an additional block insert
1.5 ml block insert for dry bath |  | 48 | tube capacity |  | X |  |  |  |  | 10153-364 |  |  | Only needed if using a dry bath for incubation
Thermal cycler |  | 72 | well capacity |  |  | X |  | M4000 | QP-1016-16 | 470351-984 |  |  | Double capacity needed if running both arthropod & Wolbachia PCRs during the same class period
Mobile device(s) for thermal cyclers |  | 12 | each |  |  | X |  |  |  |  | Any |  | Needed for MiniOne and miniPCR thermal cyclers
Colored lab tape to label storage boxes |  | 1 | roll |  | X | X |  |  |  | 470144-262 |  |  | Can substitute with any brand
Storage box for 1.5 ml tubes |  | 48 | tube capacity |  | X |  |  |  |  | 470338-952 | USA Scientific | 2381-5048 | Recommend plastic or cardboard freezer boxes with lids
Nitrile gloves (XS, S, M, L, XL) |  | 240 | gloves | X | X | X | X |  |  | 76518-XXX | USA Scientific | 3915-XXXX | Recommend nitrile rather than latex to avoid allergic reactions and/or skin irritation
96-well PCR plate, semi-skirted* |  | 1 | each |  |  |  | X |  |  | 470324-966 | USA Scientific | 1402-9700 | Used to submit samples for Sanger sequencing; * can obtain from Wolbachia Project
Bubble cap strips* |  | 1 | pack |  |  |  | X |  |  | 20170-000 | USA Scientific | 1400-1800 | Used to seal the plate for Sanger sequencing; * can obtain from Wolbachia Project
Microwave |  | 1 | each |  |  |  | X |  |  | 470359-014 | Any
Parafilm (optional) |  | 1 | roll |  |  |  | X |  |  | 470152-246 |  |  | Optional; only needed if using colorelss Taq Master mix (for loading agarose gels)
PER STATION: Organize per lab station |  | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Wash bottle for 70% ethanol |  | 6 | each | X | X | X | X |  |  | 47750-676 |  |  | Any squirt bottle to hold ethanol; used for spraying down bench prior to molecular work
Wash bottle or transfer pipette for water |  | 6 | each |  | X |  |  |  |  | 47750-676 |  |  | This will be used to rinse off arthropods prior to dissection
Vortex mixer |  | 6 | each |  | X | X |  |  |  | 10153-688 |  |  | VortexGenie is the gold standard; mini vortex mixers work well for this lab series
Mini Centrifuge (1.5 ml & PCR rotors) |  | 6 | each |  | X | X |  | M2031 | QP-1800-02 | 76269-064 |  |  | Recommend centrifuges with a rotor that fits multiple sized tubes and/or a pop off rotor
Waste cup for solids |  | 6 | each |  | X | X | X |  |  | 76263-380 | Any |  | Any plastic cup to eject pipette tips; label "not for food"
Sharpie, fine-tip or ultrafine-tip |  | 6 | each |  | X | X | X |  |  | 470217-640 | Any |  | Permanent lab marker
20 ul pipette tips |  | 6 | boxes |  | X | X | X |  | 4AA76 | 76322-134 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
200 ul pipette tips |  | 6 | boxes |  | X | X |  | M3136 | 4AA77 | 76322-150 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
1000 ul pipette tips |  | 6 | boxes |  | X |  |  | M3128 | 4AA78 | 76322-154 |  |  | Ensure compatibility with micropipettes; recommend filtered tips to prevent contamination
Paper towels |  | 6 | small piles | X | X | X | X |  |  | 470308-268 | Any |  | Trifold paper towels to clean stations and for DNA Extraction lab
PER GROUP - MATERIALS | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Arthropod collection vials/containers | 2 | 24 | each | X | [5 empty] | 470331-654 | Any |  | Small plastic containers to collect insects; can use medicine bottle, washed food container, etc.
Dissection kit | 1 | 12 | each | X | X |  |  |  |  | 76457-522 |  |  | Affordable kit to include scalpel, probe, forceps, & scissors (or purchase separately)
Safety goggles | 2 | 24 | each | X | [5 empty] | 89187-988 |  |  | Recommended for safety
Microtube pestles | 4 | 48 | each |  | X |  |  |  |  | 749520-0000 | USA Scientific | 1415-5390 | Microtube pestles must fit 1.5 ml tubes; can be washed and reused
Rack for 1.5 ml microcentrifuge tubes | 1 | 12 | each | X | X | X | X | M3181 | CM-1003-08 | 470334-388 | USA Scientific | 2380-1048 | Any rack
Rack for 0.2 ml PCR tubes (and storage) | 1 | 12 | each |  |  | X | X | M3180 | CM-1003-05 | 470200-670 | USA Scientific | 2300-9602 | Any rack; recommend one with a lid so that it can also be used to store PCR products
1.5 ml microcentrifuge tubes | 18 | 216 | tubes | X | X | X |  | M3109 | CM-1000-03 | 470337-702 | USA Scientific | 1615-5510 | Recommend sterilized, if available; used for DNA purification and PCR
0.2 ml PCR tubes | 6 | 72 | tubes |  |  | X |  | M6100 | 6AA45 | 76468-980 | USA Scientific | 1402-4700 | Recommend strip tubes with a tight close/seal; they can be cut with scissors
20 ul pipette, adjustable | 1 | 12 | each |  | X | X | X | M2008 | QP-1001-01 | 470231-608 |  |  | Often sold as sets
200 ul pipette, adjustable | 1 | 12 | each |  | X | X |  | M2010 | QP-1001-03 | 470231-600 |  |  | Often sold as sets
1000 ul pipette, adjustable | 1 | 12 | each |  | X |  |  | M2011 | QP-1001-02 | 470231-602 |  |  | Often sold as sets
Gel Electrophoresis System | 1 | 12 | each |  |  |  | X | *** Select an electrophoresis system from green section below ***
Computer with internet access (optional) | 2 | 24 | each | X | X | X | X |  |  |  | Any |  | Optional to identify arthropods and access Wolbachia Project digital content
Macro lens for mobile device (optional) | 1 | 12 | each | X | [6 empty] | Any |  | Optional to view morphology of small arthropods
Microscope (optional) | 1 | 12 | each | X | [6 empty] | Any |  | Optional to view morphology of small arthropods
Colored pencils (optional) | 1 | 12 | boxes | X | [5 empty] | 500035-674 | Any |  | Optional if drawing arthropods; can also take pictures
Field Guides (optional) | (per class) | 1 | book | X | [5 empty] | 470007-926 | Any |  | Optional to identify arthropods; can use online field guides
Lab tray or cafeteria tray (optional) | 1 | 12 | each | X | X | X | X |  |  | 470303-962 | Any |  | Optional to organize work stations
PER GROUP - MOLECULAR REAGENTS | PER GROUP | TOTAL NEEDED | [5 empty] | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
70% Ethanol, lower grade for wash bottle | 100 | 1200 | ml | X | X | X | X |  |  | 97064-768 |  |  | Used for rinsing bench prior to molecular work and arthropod storage
Ethanol, molecular grade | 800 | 9600 | µl |  | X |  |  |  |  | EM-4450S |  |  | Used for DNA purification
QIAGEN DNeasy Kit | 4 | 48 | reactions |  | X |  |  |  |  | 220002-670 | QIAGEN | 69504 | Each kit accomodates 50 reactions
Taq Master Mix (select an option below)
Option 1: 2X Master Mix | 175 | 2100 | µl |  |  | X |  |  |  | PAM7122 | NEB | M0488S | Recommend using colored Master Mix w/ loading dye
Option 2: 5X Master Mix | 70 | 840 | µl |  |  | X |  |  | RG-1000-01 |  |  |  | Recommend using colored Master Mix w/ loading dye
PCR (nuclease-free) water (select below)
Option 1: With 2X Master Mix | 95 | 1140 | µl |  |  | X |  | M6205 | RG-1021-01 | 76620-532 | NEB | B1500S | Not required if pre-packaged with Master Mix
Option 2: With 5X Master Mix | 200 | 2400 | µl |  |  | X |  | M6205 | RG-1021-01 | 76620-532 | NEB | B1500S | Not required if pre-packaged with Master Mix
DNA Ladder | 10 | 120 | µl |  |  |  | X | M3144 | RG-1001-01 | 470334-112 | NEB | N0559S | Any DNA ladder that has loading dye; used to visualize/distinguish ~400 and ~ 700 bp bands
Set of (+/-) Arthropod controls | 1 | 12 | sets |  | X | [5 empty] | Wolbachia Project | N/A | Contact the Wolbachia Project to obtain free project-specific reagents. https://wolbachiaproject.org/contact/
(+) DNA control | 4 | 48 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
WSpecF (Wolbachia forward) primer | 14 | 168 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
WSpecR (Wolbachia reverse) primer | 14 | 168 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
CO1F (Arthropod forward) primer | 14 | 168 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
CO1R (Arthropod reverse) primer | 14 | 168 | µl |  |  | X |  |  |  |  | Wolbachia Project | N/A
GEL ELECTROPHORESIS OPTIONS |  |  |  | LAB |  |  |  | VENDOR |  |  |  |  | NOTES
MiniOne | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Electrophoresis System | 1 | 12 | each |  |  |  | X | M1000 |  |  |  |  | Bundle with additional units and/or thermal cycler
GreenGel Cups, 1% TBE | 2 | 24 | cups |  |  |  | X | M3102TBE
Media/storage bottle, 1000 ml | 0.27 | 3.24 | each |  |  |  | X |  |  | 16157-191 |  |  | Any; recommend plastic
250 ml graduated cylinder | 1 | 12 | each |  |  |  | X |  |  | 470177-818 |  |  | Any; recommend plastic; can be shared among groups/class
Distilled water | 270 | 3240 | ml |  |  |  | X |  |  | 470015-857 | Milli-Q, DI system, or local store |  | Any distilled or DI water; recommend not using tap water
miniPCR | PER GROUP | TOTAL NEEDED |  | 1 | 2 | 3 | 4 | MiniOne | miniPCR | VWR/Ward's | Other Vendor | Catalog #
Electrophoresis System | 1 | 12 | each |  |  |  | X |  | QP-1500-01 | 470348-558 |  |  | Bundle with additional units and/or thermal cycler
TBE electrophoesis buffer powder | 0.5 | 6 | g |  |  |  | X |  | RG-1502-04 | 470352-026 |  |  | Can also purchase stock buffer and dilute to 1X TBE with water
All-in-One Agarose Tabs | 2 | 24 | each |  |  |  | X |  | RG-1500-21 | 470348-592 |  |  | Use 1/2 amount for 1% gels
Media/storage bottle, 1000 ml | 0.1 | 1.2 | each |  |  |  | X |  |  | 16157-191 |  |  | Any; recommend plastic
Hot hand protector |  | 1 | each |  |  |  | X |  |  | 470148-668 |  |  | Can use oven mit; recommend one with grip
150 ml Erlenmeyer flask | 1 | 12 | each |  |  |  | X |  |  | 470345-994
50 ml graduated cylinder | 1 | 12 | each |  |  |  | X |  |  | 470343-822 |  |  | Any; recommend plastic; can be shared among groups/class
Distilled water | 100 | 1200 | ml |  |  |  | X |  |  | 470015-857 | Milli-Q, DI system, or local store |  | Any distilled or DI water; recommend not using tap water
Other - Items depend on specific system |  |  |  | 1 | 2 | 3 | 4
Gel electrophoresis system | varies | [5 empty] | X
Power supply | varies | [5 empty] | X
Transilluminator (UV or blue light) | varies | [5 empty] | X
UV goggles | varies | [5 empty] | X
Gel tray | varies | [5 empty] | X
Gel comb | varies | [5 empty] | X
Casting tray or lab tape to seal tray | varies | [5 empty] | X
Agarose | varies | [5 empty] | X
Balance | 1 | [5 empty] | X
Weigh boat | varies | [5 empty] | X
Running buffer, 1X (TBE, TAE, SB, or LB) | varies | [5 empty] | X
Media/storage bottle, 1000 ml | varies | [5 empty] | X
500 ml flask | varies | [5 empty] | X
250 ml graduated cylinder | varies | [5 empty] | X
Distilled water | varies | [5 empty] | X
Hot hand protector | 1 | [5 empty] | X
DNA Stain | varies | [5 empty] | X